## cgreGFP_spectrum_30C
TITLE | 01mgml_cgre
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2004-08-21
TIME | 10:36
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
RESOLUTION
DELTAX | -1
XUNITS | NANOMETERS
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 260
LASTX | 200
NPOINTS | 61
FIRSTY | 0.93788
MAXY | 3.4074
MINY | -5.7078
XYDATA
260 | 0.93788 | 290.965
259 | 0.91443 | 291.709
258 | 0.89835 | 292.45
257 | 0.846 | 293.159
256 | 0.8545 | 293.88
255 | 0.87217 | 294.592
254 | 0.87957 | 295.287
253 | 0.82942 | 295.965
252 | 0.76582 | 296.645
251 | 0.78636 | 297.352
250 | 0.78865 | 298.038
249 | 0.80113 | 298.713
248 | 0.83347 | 299.442
247 | 0.85534 | 300.212
246 | 0.83176 | 301.042
245 | 0.80704 | 301.898
244 | 0.78205 | 302.803
243 | 0.75128 | 303.806
242 | 0.7736 | 304.943
241 | 0.75475 | 306.209
240 | 0.80708 | 307.653
239 | 0.89707 | 309.267
238 | 0.9602 | 311.037
237 | 0.95078 | 312.956
236 | 0.82261 | 315.014
235 | 0.63599 | 317.234
234 | 0.37905 | 319.6
233 | 0.10306 | 322.119
232 | -0.3841 | 324.684
231 | -0.88141 | 327.415
230 | -1.4273 | 330.456
229 | -1.9215 | 333.897
228 | -2.4343 | 337.901
227 | -2.8804 | 342.47
226 | -3.361 | 347.759
225 | -3.7637 | 353.856
224 | -4.2273 | 360.743
223 | -4.6093 | 368.453
222 | -5.0221 | 376.986
221 | -5.4134 | 386.391
220 | -5.5511 | 396.704
219 | -5.5444 | 407.819
218 | -5.5604 | 419.554
217 | -5.7078 | 431.708
216 | -5.675 | 444.262
215 | -5.5792 | 457.135
214 | -5.2893 | 470.413
213 | -4.8756 | 484.029
212 | -4.6387 | 497.828
211 | -4.0979 | 511.838
210 | -3.895 | 525.911
209 | -3.3085 | 540.406
208 | -2.7173 | 555.424
207 | -1.8842 | 571.416
206 | -1.148 | 588.767
205 | -0.72362 | 608.124
204 | 0.046872 | 630.847
203 | 0.92399 | 658.893
202 | 2.4599 | 695.277
201 | 3.2294 | 743.498
200 | 3.4074 | 808.058
##### Extended Information
[Comments]
Sample name | 01mgml_cgre
Comment | 1 mm cuvette | 0.1mg/ml cgreGFP | initial spectrum
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-04-08 10:36
Data array type | Linear data array * 2
Horizontal axis | Wavelength [nm]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 260 nm
End | 200 nm
Data interval | 1 nm
Data points | 61
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Temperature | 30.00 C
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Start immediately
Cell Length | 10 mm
Photometric Mode | CD | HT
Measure Range | 260 - 200 nm
Data pitch | 1 nm
Sensitivity | High
D.I.T. | 2 sec
Bandwidth | 1.00 nm
Start Mode | Immediately
Scanning Speed | 100 nm/min
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Accumulations | 10
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole pH 8

## cgreGFP_melting_curve
TITLE | cgre 0.1mg/ml
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2004-08-21
TIME | 11:54
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
XUNITS | Temperature[C]
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 29.99
LASTX | 98.23
NPOINTS | 376
XYDATA
29.99 | -5.5049 | 419.152
30.16 | -6.1048 | 418.971
30.45 | -5.5037 | 419.124
30.65 | -5.9425 | 419.012
30.79 | -6.0387 | 419.015
31.02 | -5.3366 | 419.238
31.22 | -5.5511 | 419.204
31.37 | -5.5578 | 419.235
31.49 | -5.9981 | 419.145
31.68 | -5.6601 | 419.229
31.88 | -5.971 | 419.196
32.06 | -5.6416 | 419.325
32.18 | -6.0739 | 419.232
32.36 | -5.8186 | 419.346
32.6 | -6.1195 | 419.273
32.78 | -5.7918 | 419.406
32.89 | -5.8595 | 419.422
33.07 | -5.6665 | 419.49
33.3 | -5.7996 | 419.483
33.48 | -6.089 | 419.471
33.59 | -5.8955 | 419.55
33.82 | -5.8816 | 419.625
33.98 | -6.0797 | 419.541
34.15 | -5.6851 | 419.723
34.3 | -5.8282 | 419.714
34.51 | -5.5694 | 419.803
34.71 | -5.7898 | 419.791
34.81 | -5.5706 | 419.86
34.96 | -5.6055 | 419.894
35.19 | -5.5732 | 419.946
35.43 | -5.8253 | 419.914
35.55 | -5.994 | 419.925
35.69 | -5.8537 | 419.961
35.9 | -5.8019 | 420.034
36.13 | -5.9423 | 420.027
36.33 | -5.5784 | 420.152
36.41 | -5.4595 | 420.212
36.54 | -5.7946 | 420.173
36.78 | -5.8841 | 420.134
36.98 | -5.7601 | 420.209
37.09 | -5.6498 | 420.272
37.29 | -5.6052 | 420.325
37.5 | -5.4156 | 420.402
37.73 | -5.6891 | 420.353
37.85 | -5.202 | 420.522
37.97 | -6.041 | 420.306
38.19 | -6.035 | 420.35
38.33 | -6.016 | 420.384
38.48 | -5.8017 | 420.468
38.71 | -5.5847 | 420.549
38.92 | -5.9196 | 420.509
39.12 | -5.6734 | 420.612
39.2 | -5.9136 | 420.565
39.4 | -5.8395 | 420.579
39.61 | -5.406 | 420.745
39.79 | -5.9407 | 420.603
39.91 | -5.7964 | 420.618
40.09 | -5.8314 | 420.613
40.31 | -5.7523 | 420.647
40.49 | -5.7075 | 420.65
40.61 | -5.4909 | 420.775
40.8 | -5.2097 | 420.874
41.01 | -5.787 | 420.746
41.22 | -5.653 | 420.808
41.36 | -5.5427 | 420.853
41.6 | -5.6483 | 420.858
41.82 | -5.8392 | 420.858
41.99 | -5.3511 | 420.99
42.07 | -5.3991 | 420.995
42.28 | -6.0807 | 420.854
42.49 | -5.4111 | 421.039
42.57 | -5.518 | 421.009
42.79 | -5.1856 | 421.123
43.05 | -5.6134 | 421.054
43.24 | -5.3314 | 421.151
43.37 | -5.5225 | 421.123
43.49 | -5.6784 | 421.074
43.72 | -5.3268 | 421.224
43.88 | -5.756 | 421.125
44.04 | -5.5298 | 421.222
44.18 | -5.6241 | 421.235
44.42 | -5.6949 | 421.245
44.51 | -5.2951 | 421.397
44.94 | -5.4751 | 421.353
45.19 | -6.0589 | 421.246
45.23 | -5.3443 | 421.456
45.41 | -5.1502 | 421.545
45.61 | -5.7145 | 421.407
45.82 | -5.9321 | 421.376
45.92 | -5.8563 | 421.432
46.09 | -5.9733 | 421.44
46.33 | -5.6822 | 421.54
46.52 | -5.3701 | 421.651
46.67 | -5.2303 | 421.694
46.74 | -5.173 | 421.743
46.98 | -5.7674 | 421.645
47.24 | -5.4681 | 421.772
47.4 | -5.5324 | 421.747
47.52 | -5.7679 | 421.747
47.66 | -4.9924 | 421.953
47.85 | -5.632 | 421.816
48.03 | -5.4112 | 421.918
48.19 | -5.2605 | 421.999
48.44 | -5.6905 | 421.898
48.61 | -5.6185 | 421.931
48.71 | -5.1297 | 422.1
48.9 | -4.9418 | 422.137
49.12 | -5.9539 | 421.944
49.3 | -5.4176 | 422.123
49.46 | -5.5799 | 422.081
49.61 | -5.6148 | 422.114
49.8 | -5.8235 | 422.079
49.98 | -5.6314 | 422.181
50.22 | -5.4261 | 422.283
50.32 | -5.0594 | 422.399
50.45 | -4.8767 | 422.444
50.71 | -5.359 | 422.396
50.95 | -5.416 | 422.417
51.01 | -5.5545 | 422.404
51.15 | -5.8072 | 422.323
51.4 | -5.1058 | 422.579
51.65 | -5.3355 | 422.52
51.73 | -5.574 | 422.517
51.88 | -5.221 | 422.646
52.08 | -5.3472 | 422.62
52.31 | -5.0824 | 422.741
52.42 | -5.5512 | 422.649
52.59 | -5.6167 | 422.666
52.82 | -5.8757 | 422.644
52.98 | -5.7375 | 422.732
53.1 | -5.4816 | 422.822
53.27 | -5.6486 | 422.83
53.51 | -4.7045 | 423.088
53.72 | -5.804 | 422.856
53.83 | -5.4977 | 422.955
53.98 | -5.6326 | 422.958
54.17 | -5.8095 | 422.926
54.35 | -5.4 | 423.059
54.54 | -4.7943 | 423.228
54.7 | -5.4644 | 423.103
54.91 | -5.6895 | 423.073
55.14 | -5.9727 | 423.036
55.21 | -5.8567 | 423.068
55.33 | -5.9184 | 423.101
55.62 | -5.0846 | 423.338
55.85 | -5.34 | 423.278
55.91 | -5.6809 | 423.232
56.09 | -5.2742 | 423.35
56.27 | -5.4407 | 423.323
56.5 | -5.6075 | 423.317
56.63 | -5.6133 | 423.307
56.74 | -5.2861 | 423.409
57.03 | -5.5508 | 423.387
57.23 | -5.6688 | 423.371
57.32 | -5.3965 | 423.466
57.52 | -5.3715 | 423.491
57.72 | -4.9972 | 423.57
57.9 | -5.3033 | 423.58
57.99 | -5.5504 | 423.542
58.2 | -5.4212 | 423.595
58.41 | -5.4139 | 423.575
58.58 | -5.2615 | 423.664
58.64 | -5.0183 | 423.779
58.89 | -4.8369 | 423.335
59.13 | -5.4253 | 423.201
59.26 | -5.8932 | 423.124
59.42 | -5.3973 | 423.271
59.73 | -5.7124 | 423.168
60 | -5.5699 | 423.262
60.44 | -5.5001 | 423.364
60.54 | -5.1022 | 423.463
60.6 | -5.6367 | 423.311
60.81 | -5.6823 | 423.344
60.98 | -5.4205 | 423.451
61.13 | -5.5042 | 423.409
61.25 | -5.2543 | 423.51
61.52 | -5.4618 | 423.47
61.71 | -5.6906 | 423.411
61.94 | -5.3159 | 423.55
62.02 | -5.398 | 423.547
62.19 | -5.342 | 423.613
62.41 | -5.4073 | 423.616
62.61 | -5.5396 | 423.605
62.72 | -5.3593 | 423.646
62.86 | -5.5883 | 423.619
63.1 | -5.4007 | 423.691
63.35 | -5.1596 | 423.799
63.41 | -5.4192 | 423.747
63.58 | -5.6044 | 423.724
63.83 | -5.4474 | 423.817
64.04 | -5.4146 | 423.843
64.14 | -5.0857 | 423.924
64.29 | -4.9489 | 423.986
64.51 | -4.4292 | 424.148
64.65 | -5.5435 | 423.869
64.78 | -5.0665 | 424.014
65.01 | -5.2378 | 424.04
65.22 | -4.928 | 424.145
65.44 | -5.1425 | 424.093
65.56 | -5.5642 | 423.985
65.64 | -5.3337 | 424.115
65.88 | -5.5956 | 424.054
66.13 | -5.4329 | 424.14
66.31 | -5.6175 | 424.085
66.45 | -5.2791 | 424.214
66.73 | -5.5126 | 424.182
66.95 | -5.621 | 424.2
67.03 | -5.2941 | 424.324
67.21 | -4.7135 | 424.543
67.4 | -5.2931 | 424.425
67.56 | -5.1765 | 424.56
67.69 | -5.21 | 424.676
67.89 | -5.7597 | 424.656
68.13 | -4.9889 | 424.993
68.31 | -5.5749 | 425.099
68.42 | -4.878 | 425.508
68.58 | -5.5572 | 425.675
68.8 | -4.6744 | 426.212
68.96 | -5.2717 | 426.421
69.06 | -5.105 | 426.877
69.29 | -5.0896 | 427.347
69.56 | -5.0779 | 427.845
69.7 | -4.2179 | 428.606
69.8 | -4.8021 | 429.05
70 | -3.9792 | 429.818
70.22 | -4.2497 | 430.37
70.44 | -3.8073 | 431.092
70.5 | -4.3688 | 431.594
70.68 | -3.6733 | 432.378
70.87 | -3.13 | 433.105
71.13 | -3.2315 | 433.707
71.23 | -3.1152 | 434.336
71.36 | -2.5802 | 434.976
71.63 | -2.5929 | 435.452
71.76 | -1.7989 | 435.971
71.91 | -2.1974 | 436.247
72.13 | -1.2276 | 436.79
72.28 | -0.98187 | 437.026
72.49 | -1.5368 | 436.98
72.58 | -0.85006 | 437.159
72.72 | -0.47608 | 437.182
73.03 | 0.32813 | 437.263
73.3 | 0.084908 | 436.972
73.34 | -0.12347 | 436.62
73.63 | 0.34314 | 436.472
73.81 | 0.15627 | 436.201
73.94 | 0.82232 | 436.144
74.1 | 0.21997 | 435.781
74.31 | 0.84825 | 435.728
74.55 | 0.87987 | 435.584
74.65 | 0.41617 | 435.219
75.07 | -0.10633 | 434.852
75.31 | 0.61783 | 434.776
75.71 | 0.21501 | 434.559
75.85 | 0.38103 | 434.519
75.95 | -0.23351 | 434.245
76.1 | 0.37104 | 434.306
76.27 | 0.77851 | 434.34
76.51 | 0.20149 | 434.112
76.67 | 0.51686 | 434.104
76.75 | 0.56339 | 433.99
77 | 0.30516 | 433.913
77.23 | 0.28374 | 433.829
77.35 | 0.24098 | 433.762
77.46 | 0.012728 | 433.704
77.74 | 0.34212 | 433.705
77.92 | 0.0018504 | 433.576
78.05 | -0.05176 | 433.487
78.34 | 0.5202 | 433.569
78.52 | 0.15825 | 433.47
78.73 | 0.12193 | 433.412
78.82 | 0.23936 | 433.38
78.95 | 0.61699 | 433.458
79.2 | 0.14404 | 433.315
79.39 | 0.15276 | 433.261
79.46 | 0.20346 | 433.246
79.7 | 0.48102 | 433.29
79.89 | 0.28263 | 433.267
80.17 | 0.56629 | 433.301
80.21 | -0.062129 | 433.092
80.35 | -0.018089 | 433.091
80.61 | 0.34712 | 433.156
80.7 | -0.26219 | 432.959
80.88 | -0.0034058 | 433.041
81.16 | -0.16664 | 433.002
81.36 | 0.16991 | 433.063
81.5 | -0.25467 | 432.913
81.57 | 0.40619 | 433.049
81.79 | -0.33712 | 432.893
82.01 | 0.43419 | 433.064
82.23 | 0.46644 | 433.029
82.35 | -0.21625 | 432.865
82.46 | 0.28732 | 432.969
82.69 | 0.34582 | 433.012
82.93 | 0.11417 | 432.922
83.01 | 0.35756 | 432.931
83.16 | 0.0034225 | 432.849
83.38 | -0.031417 | 432.846
83.64 | -0.068134 | 432.858
83.78 | 0.49247 | 432.958
84.04 | -0.42244 | 432.741
84.18 | 0.25451 | 432.933
84.35 | -0.15114 | 432.784
84.52 | 0.22777 | 432.89
84.79 | 0.90306 | 433.068
84.91 | 0.10199 | 432.844
85 | 0.0444 | 432.821
85.18 | 0.27642 | 432.893
85.42 | 0.37161 | 432.935
85.62 | 0.16985 | 432.872
85.75 | 0.38065 | 432.827
85.82 | -0.17309 | 432.737
86.14 | 0.1095 | 432.825
86.31 | -0.23469 | 432.733
86.51 | -0.12963 | 432.766
86.65 | -0.029411 | 432.702
86.87 | -0.36369 | 432.664
87.13 | 0.19915 | 432.787
87.29 | 0.5368 | 432.891
87.39 | 0.3093 | 432.828
87.63 | -0.25924 | 432.704
87.8 | 0.15787 | 432.805
87.87 | -0.41463 | 432.675
88.11 | -0.47401 | 432.678
88.28 | 0.28301 | 432.837
88.49 | 0.3237 | 432.814
88.6 | -0.19396 | 432.661
88.74 | 0.034496 | 432.719
89.01 | -0.34591 | 432.65
89.31 | 0.45325 | 432.805
89.45 | -0.057329 | 432.701
89.68 | -0.30442 | 432.675
89.93 | -0.024162 | 432.736
90.03 | 0.073483 | 432.703
90.35 | 0.37663 | 432.81
90.58 | -0.0015613 | 432.702
90.67 | -0.71606 | 432.503
90.77 | 0.054284 | 432.758
91.02 | -0.47688 | 432.64
91.21 | 0.26888 | 432.811
91.36 | -0.23329 | 432.645
91.63 | -0.2726 | 432.675
91.83 | 0.9219 | 432.985
92 | -0.2717 | 432.681
92.08 | 0.026376 | 432.749
92.26 | -0.20072 | 432.712
92.53 | 0.25225 | 432.849
92.73 | -0.14752 | 432.763
92.85 | -0.10146 | 432.731
93.17 | -0.16038 | 432.796
93.63 | -0.37121 | 432.667
93.83 | -0.69074 | 432.638
93.97 | -0.37175 | 432.723
94.03 | -0.029977 | 432.799
94.33 | 0.45735 | 432.952
94.61 | -0.062604 | 432.861
94.71 | -0.51935 | 432.74
94.81 | 0.17714 | 432.911
95 | -0.6044 | 432.733
95.22 | -0.087049 | 432.815
95.32 | -0.40272 | 432.745
95.45 | 0.32089 | 432.926
95.7 | -0.12343 | 432.892
95.95 | -0.67306 | 432.733
96.08 | -0.37278 | 432.798
96.22 | -0.053281 | 432.885
96.42 | -0.15097 | 432.886
96.63 | -0.16894 | 432.914
96.77 | -0.67971 | 432.768
96.96 | -0.43817 | 432.913
97.08 | -0.17918 | 433.019
97.18 | 0.34384 | 433.159
97.58 | -0.23945 | 433.015
97.64 | -0.66209 | 432.977
97.89 | 0.036396 | 433.198
98.23 | -0.40498 | 433.111
##### Extended Information
[Comments]
Sample name | cgre 0.1mg/ml
Comment | 1mm cuvette | melting
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-04-08 11:54
Data array type | Non-linear data array * 2
Horizontal axis | Temperature [C]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 29.99 C
End | 98.23 C
Data points | 376
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Keep target temperature +/-0.10 deg C while 5 seconds
Cell Length | 1 mm
Photometric Mode | CD | HT
Sensitivity | High
D.I.T. | 4 sec
Bandwidth | 1.00 nm
Monitor Wavelength | 218 nm
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole

## cgreGFP_spectrum_98C
TITLE | 01mgml_cgre
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2004-08-21
TIME | 12:04
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
RESOLUTION
DELTAX | -1
XUNITS | NANOMETERS
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 260
LASTX | 200
NPOINTS | 61
FIRSTY | 0.57342
MAXY | 0.61399
MINY | -1.1856
XYDATA
260 | 0.57342 | 301.022
259 | 0.59956 | 301.903
258 | 0.61399 | 302.768
257 | 0.59962 | 303.602
256 | 0.57059 | 304.423
255 | 0.54151 | 305.234
254 | 0.51862 | 306.014
253 | 0.50448 | 306.783
252 | 0.45777 | 307.528
251 | 0.43608 | 308.289
250 | 0.42671 | 309.027
249 | 0.38225 | 309.752
248 | 0.29146 | 310.503
247 | 0.27662 | 311.288
246 | 0.29091 | 312.122
245 | 0.30442 | 312.97
244 | 0.32694 | 313.863
243 | 0.21393 | 314.83
242 | 0.19146 | 315.913
241 | 0.18198 | 317.107
240 | 0.11897 | 318.407
239 | 0.023936 | 319.816
238 | -0.011374 | 321.376
237 | -0.073297 | 323.057
236 | -0.10297 | 324.874
235 | -0.12398 | 326.831
234 | -0.1508 | 328.934
233 | -0.17244 | 331.237
232 | -0.27739 | 333.71
231 | -0.36285 | 336.511
230 | -0.52926 | 339.77
229 | -0.52585 | 343.591
228 | -0.45953 | 348.091
227 | -0.39543 | 353.2
226 | -0.35186 | 359.062
225 | -0.41808 | 365.709
224 | -0.45549 | 373.191
223 | -0.52683 | 381.505
222 | -0.56966 | 390.694
221 | -0.41074 | 400.831
220 | -0.42285 | 411.814
219 | -0.53576 | 423.591
218 | -0.73525 | 436.078
217 | -0.7698 | 449.228
216 | -0.75939 | 462.976
215 | -0.6068 | 477.458
214 | -0.43902 | 492.9
213 | -0.40403 | 509.621
212 | -0.63484 | 527.963
211 | -1.1856 | 548.483
210 | -1.1787 | 572.366
209 | -1.0034 | 601.103
208 | -1.0367 | 636.918
207 | -0.48622 | 683.577
206 | -0.74371 | 745.469
205 | -0.2529 | 827.431
204 | -0.55797 | 904.244
203 | -0.99898 | 958.083
202 | -1.0491 | 981.237
201 | -0.49203 | 981.907
200 | -1.0355 | 981.844
##### Extended Information
[Comments]
Sample name | 01mgml_cgre
Comment | 1 mm cuvette | 0.1mg/ml cgreGFP | spectrum at 98 after melting
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-04-08 12:04
Data array type | Linear data array * 2
Horizontal axis | Wavelength [nm]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 260 nm
End | 200 nm
Data interval | 1 nm
Data points | 61
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Temperature | 97.92 C
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Keep target temperature +/-0.10 deg C while 5 seconds
Cell Length | 1 mm
Photometric Mode | CD | HT
Measure Range | 260 - 200 nm
Data pitch | 1 nm
Sensitivity | High
D.I.T. | 2 sec
Bandwidth | 1.00 nm
Start Mode | Immediately
Scanning Speed | 100 nm/min
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Accumulations | 10
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole pH 8

## ppluGFP2_spectrum_30C
TITLE | 0.1mgml ppluGFP
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2004-08-21
TIME | 14:42
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
RESOLUTION
DELTAX | -1
XUNITS | NANOMETERS
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 260
LASTX | 200
NPOINTS | 61
FIRSTY | 0.79573
MAXY | 7.0687
MINY | -1.5996
XYDATA
260 | 0.79573 | 291.865
259 | 0.84238 | 292.655
258 | 0.87164 | 293.439
257 | 0.8387 | 294.192
256 | 0.82124 | 294.946
255 | 0.78529 | 295.681
254 | 0.80969 | 296.415
253 | 0.80204 | 297.138
252 | 0.82079 | 297.864
251 | 0.80186 | 298.593
250 | 0.78639 | 299.314
249 | 0.72567 | 300.013
248 | 0.68395 | 300.768
247 | 0.70489 | 301.569
246 | 0.71969 | 302.43
245 | 0.76067 | 303.309
244 | 0.70621 | 304.214
243 | 0.69192 | 305.211
242 | 0.66582 | 306.307
241 | 0.6084 | 307.513
240 | 0.50057 | 308.837
239 | 0.42172 | 310.273
238 | 0.38882 | 311.82
237 | 0.31247 | 313.439
236 | 0.16618 | 315.128
235 | 0.0058027 | 316.901
234 | -0.0698 | 318.766
233 | -0.11239 | 320.73
232 | -0.21445 | 322.738
231 | -0.30711 | 324.922
230 | -0.46619 | 327.403
229 | -0.57419 | 330.245
228 | -0.72889 | 333.543
227 | -0.81538 | 337.272
226 | -0.89961 | 341.523
225 | -1.0242 | 346.354
224 | -1.187 | 351.752
223 | -1.4142 | 357.722
222 | -1.5691 | 364.3
221 | -1.5803 | 371.512
220 | -1.5996 | 379.307
219 | -1.466 | 387.652
218 | -1.3845 | 396.41
217 | -1.24 | 405.485
216 | -1.0012 | 414.812
215 | -0.76876 | 424.344
214 | -0.37181 | 434.151
213 | -0.14059 | 444.168
212 | 0.22147 | 454.412
211 | 0.79219 | 464.854
210 | 1.3238 | 475.451
209 | 2.2414 | 486.377
208 | 3.0366 | 497.694
207 | 4.0409 | 509.76
206 | 4.7812 | 522.875
205 | 5.6171 | 537.793
204 | 6.3713 | 555.541
203 | 6.8498 | 577.931
202 | 7.0687 | 607.564
201 | 6.7122 | 648.332
200 | 6.5368 | 706.207
##### Extended Information
[Comments]
Sample name | 0.1mgml ppluGFP
Comment | 1 mm cuvette | 0.1mg/ml ppluGFP initial spectrum
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-04-08 14:41
Data array type | Linear data array * 2
Horizontal axis | Wavelength [nm]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 260 nm
End | 200 nm
Data interval | 1 nm
Data points | 61
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Temperature | 30.01 C
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Keep target temperature +/-0.10 deg C while 5 seconds
Cell Length | 1 mm
Photometric Mode | CD | HT
Measure Range | 260 - 200 nm
Data pitch | 1 nm
Sensitivity | High
D.I.T. | 2 sec
Bandwidth | 1.00 nm
Start Mode | Immediately
Scanning Speed | 100 nm/min
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Accumulations | 10
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole pH 8

## ppluGFP2_melting_curve
TITLE | pplu 0.1mg/ml
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2004-08-21
TIME | 16:17
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
XUNITS | Temperature[C]
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 30
LASTX | 98.11
NPOINTS | 375
XYDATA
30 | -1.5043 | 395.956
30.13 | -1.7504 | 395.891
30.46 | -1.4484 | 395.984
30.63 | -1.6062 | 395.962
30.81 | -1.2334 | 396.05
31.01 | -1.307 | 396.029
31.2 | -1.4258 | 396.006
31.3 | -1.4091 | 396.027
31.47 | -1.0059 | 396.124
31.72 | -1.6511 | 395.971
31.92 | -1.5581 | 396.032
32 | -1.5502 | 396.043
32.16 | -1.5968 | 396.028
32.38 | -1.5583 | 395.981
32.6 | -1.5656 | 395.987
32.73 | -1.1358 | 396.11
32.85 | -1.2844 | 396.105
33.1 | -1.692 | 396.04
33.32 | -0.95657 | 396.208
33.4 | -1.5868 | 396.094
33.59 | -1.0979 | 396.201
33.8 | -1.7931 | 396.05
34.02 | -1.2421 | 396.176
34.11 | -2.0132 | 395.991
34.26 | -1.6086 | 396.08
34.48 | -1.4405 | 396.144
34.71 | -1.7569 | 396.101
34.82 | -1.611 | 396.14
34.97 | -1.2946 | 396.266
35.21 | -1.48 | 396.178
35.43 | -1.2848 | 396.23
35.51 | -1.5537 | 396.147
35.68 | -1.3188 | 396.256
35.9 | -1.6863 | 396.189
36.07 | -1.4145 | 396.257
36.18 | -1.7031 | 396.185
36.39 | -1.1534 | 396.339
36.59 | -1.3617 | 396.314
36.84 | -1.2542 | 396.371
36.95 | -1.859 | 396.253
37.07 | -1.5964 | 396.341
37.3 | -1.5462 | 396.396
37.5 | -1.4562 | 396.454
37.62 | -1.4508 | 396.467
37.79 | -1.3898 | 396.506
38 | -1.4087 | 396.546
38.2 | -1.2992 | 396.574
38.3 | -1.4149 | 396.587
38.52 | -1.3198 | 396.641
38.71 | -1.8711 | 396.51
38.89 | -1.5617 | 396.606
38.98 | -1.4202 | 396.668
39.19 | -1.6645 | 396.659
39.41 | -1.6153 | 396.68
39.62 | -1.7814 | 396.686
39.72 | -1.8778 | 396.716
39.85 | -1.3921 | 396.839
40.09 | -1.8202 | 396.757
40.3 | -1.4853 | 396.858
40.41 | -1.4994 | 396.872
40.59 | -1.827 | 396.822
40.82 | -1.645 | 396.909
41 | -1.3353 | 397.019
41.1 | -1.7399 | 396.943
41.28 | -1.6948 | 397.009
41.49 | -1.781 | 397.005
41.73 | -1.6906 | 397.04
41.82 | -1.5864 | 397.074
42.18 | -1.5721 | 397.157
42.55 | -1.7473 | 397.138
42.67 | -1.5432 | 397.224
42.83 | -1.6898 | 397.199
43.02 | -1.1702 | 397.369
43.1 | -1.5588 | 397.269
43.26 | -0.99229 | 397.452
43.49 | -1.3731 | 397.373
43.73 | -1.5478 | 397.38
43.83 | -1.664 | 397.366
43.93 | -1.675 | 397.38
44.17 | -1.1703 | 397.537
44.43 | -1.4038 | 397.507
44.54 | -1.7253 | 397.462
44.66 | -1.8876 | 397.46
44.92 | -1.4109 | 397.577
45.11 | -1.9375 | 397.476
45.23 | -1.7274 | 397.583
45.42 | -1.6359 | 397.604
45.63 | -1.4692 | 397.67
45.81 | -1.8019 | 397.609
45.97 | -1.4478 | 397.714
46.17 | -1.6162 | 397.709
46.39 | -1.5518 | 397.71
46.57 | -1.7345 | 397.681
46.7 | -1.3426 | 397.804
46.88 | -1.7237 | 397.718
47.12 | -1.7498 | 397.753
47.26 | -1.4765 | 397.844
47.38 | -1.7642 | 397.783
47.57 | -1.3304 | 397.891
47.75 | -1.449 | 397.844
48 | -1.2766 | 397.871
48.12 | -1.4588 | 397.809
48.32 | -1.4594 | 397.867
48.5 | -1.1716 | 397.95
48.66 | -1.5821 | 397.884
48.79 | -1.418 | 397.937
48.99 | -1.6526 | 397.914
49.21 | -1.9699 | 397.858
49.3 | -1.6353 | 397.913
49.47 | -1.4413 | 397.978
49.76 | -1.6255 | 397.957
49.93 | -1.7363 | 397.939
50.07 | -1.504 | 397.999
50.16 | -1.0926 | 398.111
50.38 | -1.2049 | 398.103
50.64 | -1.3866 | 398.082
50.7 | -1.4054 | 398.094
50.91 | -1.4313 | 398.118
51.11 | -1.8045 | 397.991
51.31 | -1.5443 | 398.053
51.47 | -1.4844 | 398.088
51.58 | -1.3723 | 398.15
51.78 | -1.1646 | 398.22
52 | -1.8326 | 398.042
52.17 | -1.4814 | 398.132
52.26 | -1.5716 | 398.132
52.52 | -1.6741 | 398.147
52.76 | -1.5795 | 398.18
52.86 | -1.6167 | 398.173
52.99 | -1.8687 | 398.12
53.15 | -1.0122 | 398.325
53.42 | -1.7256 | 398.191
53.58 | -1.3305 | 398.296
53.65 | -1.5321 | 398.245
53.85 | -1.225 | 398.311
54.14 | -1.6432 | 398.219
54.34 | -1.1878 | 398.337
54.67 | -1.5232 | 398.283
54.73 | -1.252 | 398.329
55.14 | -1.8386 | 398.226
55.39 | -1.6754 | 398.287
55.54 | -1.075 | 398.448
55.61 | -1.3252 | 398.381
55.79 | -1.6129 | 398.34
55.98 | -1.5046 | 398.343
56.16 | -1.8286 | 398.28
56.32 | -1.4267 | 398.377
56.5 | -1.4228 | 398.393
56.77 | -1.3743 | 398.446
56.91 | -1.3485 | 398.422
57.03 | -1.3899 | 398.45
57.26 | -1.3999 | 398.446
57.49 | -1.4157 | 398.475
57.7 | -1.2033 | 398.486
57.81 | -1.3511 | 398.493
58.03 | -1.3279 | 398.5
58.19 | -2.06 | 398.338
58.34 | -1.1587 | 398.541
58.42 | -1.7392 | 398.39
58.74 | -1.0371 | 398.614
58.97 | -1.5419 | 398.493
59.07 | -1.608 | 398.492
59.15 | -1.5352 | 398.511
59.39 | -1.492 | 398.536
59.6 | -1.4313 | 398.552
59.76 | -1.5086 | 398.562
59.9 | -1.5452 | 398.572
60.1 | -1.4393 | 398.598
60.31 | -1.5716 | 398.575
60.44 | -1.1051 | 398.703
60.56 | -1.6458 | 398.571
60.84 | -1.5085 | 398.613
60.98 | -1.3701 | 398.68
61.16 | -1.3699 | 398.706
61.31 | -1.0456 | 398.789
61.49 | -1.3314 | 398.714
61.72 | -1.567 | 398.697
61.89 | -1.3865 | 398.753
61.99 | -1.3936 | 398.731
62.18 | -1.6367 | 398.698
62.44 | -1.4981 | 398.749
62.6 | -1.2858 | 398.812
62.64 | -1.36 | 398.799
62.91 | -1.49 | 398.771
63.09 | -1.6165 | 398.742
63.28 | -1.6 | 398.766
63.44 | -1.3044 | 398.845
63.6 | -1.4591 | 398.825
63.82 | -1.565 | 398.823
63.95 | -1.3271 | 398.893
64.06 | -1.5804 | 398.847
64.24 | -1.2007 | 398.942
64.54 | -1.5012 | 398.91
64.73 | -1.2673 | 398.949
64.85 | -1.3731 | 398.925
65.09 | -1.1594 | 399.034
65.33 | -1.5932 | 398.93
65.42 | -1.4236 | 398.991
65.58 | -0.98369 | 399.089
65.78 | -1.1783 | 399.047
66.03 | -1.0382 | 399.105
66.11 | -1.4175 | 399.005
66.32 | -1.3904 | 399.056
66.54 | -1.3817 | 399.054
66.66 | -1.1725 | 399.158
66.75 | -1.4621 | 399.083
66.98 | -1.461 | 399.098
67.23 | -1.28 | 399.161
67.42 | -0.99796 | 399.235
67.51 | -1.4487 | 399.159
67.63 | -1.2034 | 399.226
67.93 | -1.1425 | 399.251
68.12 | -1.4249 | 399.222
68.23 | -1.353 | 399.246
68.41 | -1.6659 | 399.149
68.64 | -1.4768 | 399.203
68.86 | -1.4774 | 399.233
68.91 | -1.1118 | 399.315
69.1 | -1.4774 | 399.249
69.28 | -1.2532 | 399.314
69.46 | -1.7758 | 399.231
69.69 | -1.4769 | 399.301
69.82 | -1.1021 | 399.417
69.99 | -1.3911 | 399.531
70.2 | -1.1986 | 400.038
70.36 | -1.2812 | 399.83
70.49 | -1.623 | 399.703
70.71 | -1.3559 | 399.737
70.93 | -1.6122 | 399.664
71.08 | -1.7651 | 399.609
71.13 | -1.4047 | 399.684
71.41 | -1.4135 | 399.721
71.68 | -1.627 | 399.678
71.76 | -1.3406 | 399.776
71.84 | -1.1203 | 399.831
72.11 | -1.0833 | 399.842
72.35 | -1.1205 | 399.864
72.43 | -1.4389 | 399.811
72.82 | -1.3355 | 399.905
73.16 | -1.1896 | 399.969
73.22 | -1.8056 | 399.832
73.45 | -1.2871 | 399.995
73.59 | -1.3346 | 400.037
73.68 | -1.2158 | 400.055
73.85 | -1.4218 | 400.046
74.08 | -2.0479 | 399.932
74.34 | -1.3969 | 400.134
74.41 | -1.3916 | 400.159
74.61 | -0.86214 | 400.35
74.87 | -1.258 | 400.281
75 | -1.5965 | 400.198
75.07 | -1.721 | 400.213
75.28 | -1.1044 | 400.432
75.57 | -1.4013 | 400.387
75.69 | -1.2507 | 400.486
75.8 | -1.3919 | 400.477
76.02 | -1.497 | 400.485
76.2 | -1.4916 | 400.58
76.44 | -1.3852 | 400.636
76.56 | -1.3716 | 400.663
76.82 | -1.6001 | 400.634
76.98 | -1.6636 | 400.736
77.09 | -1.6096 | 401.151
77.27 | -1.5829 | 401.533
77.48 | -1.0491 | 401.678
77.79 | -1.2436 | 401.574
77.85 | -1.3842 | 401.521
78 | -1.0994 | 401.65
78.22 | -1.7537 | 401.529
78.38 | -1.1749 | 401.739
78.55 | -1.283 | 401.74
78.72 | -1.5012 | 401.722
78.94 | -1.5923 | 401.756
79.1 | -1.4563 | 401.834
79.18 | -1.4883 | 401.899
79.41 | -1.6441 | 401.928
79.63 | -1.1065 | 402.147
79.86 | -1.2206 | 402.189
79.98 | -1.4904 | 402.19
80.08 | -1.2294 | 402.368
80.3 | -1.3858 | 402.382
80.53 | -1.0232 | 402.613
80.68 | -1.6221 | 402.546
80.7 | -2.0713 | 402.554
80.92 | -0.9965 | 403.053
81.28 | -1.1143 | 403.342
81.38 | -1.2293 | 403.549
81.48 | -1.5517 | 403.632
81.71 | -1.4684 | 403.709
81.93 | -0.71282 | 404.03
82.09 | -0.73158 | 404.131
82.18 | -1.5139 | 404.067
82.38 | -1.4801 | 404.213
82.63 | -1.3864 | 404.415
82.78 | -1.1119 | 404.605
82.95 | -0.82263 | 404.869
83.06 | -0.74873 | 405.035
83.31 | -1.1891 | 405.094
83.5 | -1.263 | 405.374
83.64 | -1.3148 | 405.733
83.87 | -1.3507 | 406.015
83.98 | -1.239 | 406.243
84.2 | -0.98144 | 406.478
84.31 | -0.89736 | 406.682
84.45 | -0.78072 | 406.863
84.78 | -1.1693 | 406.928
84.97 | -1.0694 | 407.19
85.02 | -0.88257 | 407.563
85.32 | -0.61856 | 407.821
85.57 | -0.68844 | 408.008
85.61 | -0.50952 | 408.321
85.86 | -1.179 | 408.852
86.22 | -0.73494 | 409.374
86.37 | -0.19499 | 409.633
86.42 | -0.55454 | 409.714
86.54 | -0.63977 | 409.901
86.8 | -0.3843 | 410.178
87.04 | -0.52171 | 410.323
87.14 | 0.19766 | 410.656
87.26 | -0.44218 | 410.69
87.54 | -0.36597 | 410.874
87.75 | -0.19408 | 411.254
88.11 | -0.67365 | 411.392
88.53 | 0.47936 | 411.734
88.63 | 0.085616 | 411.81
88.92 | 0.28241 | 411.893
89.08 | 0.0012884 | 411.881
89.18 | 0.36536 | 411.975
89.4 | 0.87189 | 412.09
89.67 | 0.35921 | 411.968
89.71 | 0.19336 | 411.893
89.87 | 0.28209 | 411.885
90.07 | 0.90494 | 411.995
90.28 | 0.13666 | 411.72
90.36 | 0.76492 | 411.823
90.67 | 0.78712 | 412.885
90.87 | 0.64337 | 412.16
91.02 | 0.56927 | 411.895
91.1 | 0.22166 | 411.704
91.3 | 0.98701 | 411.759
91.53 | 0.46672 | 411.549
91.62 | 0.55788 | 411.472
91.86 | 0.6109 | 411.414
92.02 | 0.034164 | 411.192
92.17 | 0.38882 | 411.241
92.53 | 0.44059 | 411.178
92.71 | 0.32943 | 411.159
93.09 | 0.65243 | 412.134
93.21 | 0.22597 | 411.66
93.61 | 0.79614 | 411.77
93.71 | 0.10547 | 411.536
93.81 | 0.0018575 | 411.475
94.04 | 0.95225 | 411.639
94.24 | 0.4405 | 411.629
94.38 | 0.071064 | 411.923
94.65 | 0.26931 | 412.016
94.7 | 0.81748 | 412.073
94.83 | 0.31484 | 411.867
95.13 | 0.5959 | 411.859
95.38 | 0.70745 | 411.841
95.42 | 0.66387 | 411.805
95.54 | 0.070253 | 411.63
95.82 | 0.43554 | 411.721
95.99 | 0.57139 | 411.713
96.1 | 0.7558 | 411.811
96.34 | 0.30572 | 411.685
96.5 | 0.67995 | 411.765
96.69 | 0.5131 | 411.745
96.84 | 0.23304 | 411.683
96.92 | 0.27292 | 411.64
97.2 | 0.22868 | 411.602
97.44 | 0.22493 | 411.545
97.54 | 0.38616 | 411.538
97.89 | 0.74333 | 411.594
98.11 | 0.29046 | 411.472
##### Extended Information
[Comments]
Sample name | pplu 0.1mg/ml
Comment | 1mm cuvette | melting | 220nm
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-04-08 16:17
Data array type | Non-linear data array * 2
Horizontal axis | Temperature [C]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 30 C
End | 98.11 C
Data points | 375
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Keep target temperature +/-0.10 deg C while 5 seconds
Cell Length | 1 mm
Photometric Mode | CD | HT
Sensitivity | High
D.I.T. | 4 sec
Bandwidth | 1.00 nm
Monitor Wavelength | 218 nm
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole

## ppluGFP2_spectrum_98C
TITLE | 0.1mgml ppluGFP
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2004-08-21
TIME | 16:26
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
RESOLUTION
DELTAX | -1
XUNITS | NANOMETERS
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 260
LASTX | 200
NPOINTS | 61
FIRSTY | 0.63385
MAXY | 1.0585
MINY | -0.21387
XYDATA
260 | 0.63385 | 298.998
259 | 0.61404 | 299.866
258 | 0.62351 | 300.743
257 | 0.61273 | 301.596
256 | 0.58643 | 302.442
255 | 0.56273 | 303.269
254 | 0.51123 | 304.065
253 | 0.54243 | 304.879
252 | 0.55594 | 305.687
251 | 0.57024 | 306.506
250 | 0.50685 | 307.29
249 | 0.47029 | 308.068
248 | 0.43918 | 308.891
247 | 0.45487 | 309.758
246 | 0.40917 | 310.668
245 | 0.37419 | 311.585
244 | 0.33149 | 312.537
243 | 0.28699 | 313.557
242 | 0.28394 | 314.681
241 | 0.28172 | 315.917
240 | 0.23584 | 317.262
239 | 0.23051 | 318.719
238 | 0.22398 | 320.279
237 | 0.23708 | 321.93
236 | 0.18812 | 323.661
235 | 0.1399 | 325.502
234 | 0.20494 | 327.487
233 | 0.22715 | 329.611
232 | 0.24084 | 331.867
231 | 0.1861 | 334.344
230 | 0.17863 | 337.216
229 | 0.29203 | 340.514
228 | 0.32314 | 344.31
227 | 0.37839 | 348.542
226 | 0.28476 | 353.29
225 | 0.25906 | 358.646
224 | 0.24286 | 364.609
223 | 0.23385 | 371.169
222 | 0.25942 | 378.361
221 | 0.28731 | 386.212
220 | 0.21267 | 394.683
219 | 0.21344 | 403.774
218 | 0.19551 | 413.404
217 | 0.37718 | 423.558
216 | 0.32156 | 434.147
215 | 0.405 | 445.379
214 | 0.45098 | 457.442
213 | 0.59141 | 470.729
212 | 0.79172 | 485.642
211 | 0.843 | 502.727
210 | 0.77604 | 522.921
209 | 0.74395 | 547.66
208 | 0.75678 | 579.08
207 | 1.0585 | 620.488
206 | 1.0111 | 676.493
205 | 0.72157 | 753.892
204 | 0.80424 | 848.702
203 | 0.5941 | 925.051
202 | 0.45117 | 972.198
201 | -0.21387 | 981.922
200 | 0.32332 | 982.179
##### Extended Information
[Comments]
Sample name | 0.1mgml ppluGFP
Comment | 1 mm cuvette | 0.1mg/ml ppluGFP at 98C post-melt
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-04-08 16:26
Data array type | Linear data array * 2
Horizontal axis | Wavelength [nm]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 260 nm
End | 200 nm
Data interval | 1 nm
Data points | 61
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Temperature | 97.88 C
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Keep target temperature +/-0.10 deg C while 5 seconds
Cell Length | 1 mm
Photometric Mode | CD | HT
Measure Range | 260 - 200 nm
Data pitch | 1 nm
Sensitivity | High
D.I.T. | 2 sec
Bandwidth | 1.00 nm
Start Mode | Immediately
Scanning Speed | 100 nm/min
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Accumulations | 10
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole pH 8

## amacGFP_spectrum_30C
TITLE | 0.1mgml amacGFP
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2005-08-21
TIME | 12:40
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
RESOLUTION
DELTAX | -1
XUNITS | NANOMETERS
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 260
LASTX | 200
NPOINTS | 61
FIRSTY | 0.90315
MAXY | 5.5747
MINY | -3.6105
XYDATA
260 | 0.90315 | 292.365
259 | 0.91317 | 293.138
258 | 0.87791 | 293.886
257 | 0.85593 | 294.622
256 | 0.87046 | 295.36
255 | 0.82783 | 296.076
254 | 0.81998 | 296.778
253 | 0.77505 | 297.467
252 | 0.78457 | 298.162
251 | 0.82349 | 298.869
250 | 0.85437 | 299.557
249 | 0.86176 | 300.234
248 | 0.82868 | 300.957
247 | 0.82249 | 301.717
246 | 0.77731 | 302.527
245 | 0.74846 | 303.354
244 | 0.72574 | 304.231
243 | 0.70919 | 305.211
242 | 0.62523 | 306.279
241 | 0.54783 | 307.474
240 | 0.42337 | 308.8
239 | 0.35545 | 310.276
238 | 0.22933 | 311.881
237 | 0.14235 | 313.634
236 | 0.062888 | 315.536
235 | 0.0084983 | 317.592
234 | -0.12 | 319.763
233 | -0.29595 | 322.061
232 | -0.51228 | 324.451
231 | -0.68561 | 327.05
230 | -0.94102 | 329.985
229 | -1.1967 | 333.341
228 | -1.4838 | 337.263
227 | -1.7966 | 341.715
226 | -2.0633 | 346.863
225 | -2.3102 | 352.752
224 | -2.5987 | 359.368
223 | -2.7868 | 366.729
222 | -3.0821 | 374.82
221 | -3.2249 | 383.738
220 | -3.38 | 393.423
219 | -3.4082 | 403.815
218 | -3.6105 | 414.716
217 | -3.4196 | 426.148
216 | -3.346 | 437.904
215 | -2.9687 | 450.055
214 | -2.6395 | 462.525
213 | -2.5203 | 475.272
212 | -2.2623 | 488.306
211 | -1.7233 | 501.62
210 | -1.2744 | 515.118
209 | -0.7446 | 528.963
208 | -0.43774 | 543.273
207 | 0.051244 | 558.484
206 | 1.2281 | 575.242
205 | 2.0653 | 594.042
204 | 3.3883 | 616.342
203 | 4.4658 | 643.994
202 | 5.5747 | 680.001
201 | 5.5056 | 728.156
200 | 5.2806 | 794.031
##### Extended Information
[Comments]
Sample name | 0.1mgml amacGFP
Comment | 1 mm cuvette | 0.1mgml amacGFP initial spectrum
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-05-08 12:39
Data array type | Linear data array * 2
Horizontal axis | Wavelength [nm]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 260 nm
End | 200 nm
Data interval | 1 nm
Data points | 61
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Temperature | 29.99 C
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Keep target temperature +/-0.10 deg C while 5 seconds
Cell Length | 1 mm
Photometric Mode | CD | HT
Measure Range | 260 - 200 nm
Data pitch | 1 nm
Sensitivity | High
D.I.T. | 2 sec
Bandwidth | 1.00 nm
Start Mode | Immediately
Scanning Speed | 100 nm/min
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Accumulations | 10
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole pH 8

## amacGFP_spectrum_98C
TITLE | 0.1mgml amacGFP
DATA TYPE
ORIGIN | JASCO
OWNER
DATE | 2005-08-21
TIME | 14:11
SPECTROMETER/DATA SYSTEM
LOCALE | 1033
RESOLUTION
DELTAX | -1
XUNITS | NANOMETERS
YUNITS | CD [mdeg]
Y2UNITS | HT [V]
FIRSTX | 260
LASTX | 200
NPOINTS | 61
FIRSTY | 0.66405
MAXY | 0.68099
MINY | -0.91915
XYDATA
260 | 0.66405 | 299.495
259 | 0.68099 | 300.345
258 | 0.64869 | 301.174
257 | 0.61526 | 301.989
256 | 0.5926 | 302.798
255 | 0.57928 | 303.594
254 | 0.54691 | 304.364
253 | 0.51188 | 305.128
252 | 0.57932 | 305.913
251 | 0.61062 | 306.696
250 | 0.6089 | 307.449
249 | 0.53119 | 308.169
248 | 0.41367 | 308.927
247 | 0.35122 | 309.728
246 | 0.34005 | 310.6
245 | 0.3422 | 311.478
244 | 0.30102 | 312.387
243 | 0.25353 | 313.376
242 | 0.20279 | 314.461
241 | 0.09401 | 315.664
240 | 0.02316 | 317.003
239 | -0.024315 | 318.464
238 | -0.055385 | 320.056
237 | -0.099679 | 321.756
236 | -0.19026 | 323.567
235 | -0.21021 | 325.529
234 | -0.21579 | 327.644
233 | -0.236 | 329.947
232 | -0.30851 | 332.412
231 | -0.3871 | 335.169
230 | -0.45951 | 338.383
229 | -0.46899 | 342.089
228 | -0.49151 | 346.421
227 | -0.55985 | 351.296
226 | -0.60767 | 356.876
225 | -0.67299 | 363.201
224 | -0.75956 | 370.266
223 | -0.7562 | 378.126
222 | -0.85332 | 386.768
221 | -0.72912 | 396.293
220 | -0.73637 | 406.598
219 | -0.60527 | 417.685
218 | -0.48645 | 429.427
217 | -0.52899 | 441.734
216 | -0.56635 | 454.616
215 | -0.52767 | 468.206
214 | -0.33144 | 482.793
213 | -0.40811 | 498.616
212 | -0.43003 | 516.187
211 | -0.91915 | 535.944
210 | -0.67592 | 559.173
209 | -0.52115 | 587.24
208 | -0.50799 | 622.442
207 | -0.034002 | 668.416
206 | 0.29961 | 729.88
205 | 0.37873 | 812.37
204 | 0.37219 | 894.001
203 | -0.092328 | 952.765
202 | -0.28748 | 980.666
201 | 0.50488 | 982.153
200 | 0.16706 | 982.103
##### Extended Information
[Comments]
Sample name | 0.1mgml amacGFP
Comment | 1 mm cuvette | 0.1mgml amacGFP post melt
User
Division
Company | NCBR
[Detailed Information]
Creation date | 2021-05-08 14:11
Data array type | Linear data array * 2
Horizontal axis | Wavelength [nm]
Vertical axis(1) | CD [mdeg]
Vertical axis(2) | HT [V]
Start | 260 nm
End | 200 nm
Data interval | 1 nm
Data points | 61
[Measurement Information]
Instrument Name | J-815
Model Name | J-815
Serial No. | B038461168
Accessory | CDF-426S
Accessory S/N | A006961183
Temperature | 97.93 C
Control Sonsor | Holder
Monitor Sensor | Holder
Start Mode | Keep target temperature +/-0.10 deg C while 5 seconds
Cell Length | 1 mm
Photometric Mode | CD | HT
Measure Range | 260 - 200 nm
Data pitch | 1 nm
Sensitivity | High
D.I.T. | 2 sec
Bandwidth | 1.00 nm
Start Mode | Immediately
Scanning Speed | 100 nm/min
Baseline Correction | None
Shutter Control | Auto
PMT Voltage | Auto
Accumulations | 10
Solvent | 20mM Tris-HCl + 150mM NaCl + 2.5mM imidazole pH 8